## Slide 1: SIMATIC S7-1500 hardware migration support
SIMATIC Innovation – Status 01/2016 (FW 1.8 ff.)

## Slide 2: SIMATIC Innovation Important advices
We do not accept any liability for the information contained in this document.
Any claims against us – based on whatever legal reason – resulting from the use of the examples, information, programs, engineering and performance data etc., described in this document shall be excluded. Such an exclusion shall not apply in the case of mandatory liability, e.g. under the German Product Liability Act (“Produkthaftungsgesetz”), in case of intent, gross negligence, or injury of life, body or health, guarantee for the quality of a product, fraudulent concealment of a deficiency or breach of a condition which goes to the root of the contract (“wesentliche Vertragspflichten”). The damages for a breach of a substantial contractual obligation are, however, limited to the foreseeable damage, typical for the type of contract, except in the event of intent or gross negligence or injury to life, body or health. The above provisions do not imply a change of the burden of proof to your detriment.

## Slide 3: SIMATIC Innovation Big Picture: S7-300/400  S7-1500 in discrete automation (factory automation)
CPU 319F-3 PN/DP
CPU 319-3 PN/DP
CPU 317F-2 PN/DP
CPU 317-2 PN/DP
CPU 317F-2 DP
CPU 317-2 DP
CPU 315F-2 PN/DP
CPU 315-2 PN/DP
CPU 315F-2 DP
CPU 315-2 DP
CPU 314C-2 PN/DP
CPU 314C-2 DP
CPU 314C-2 PtP
CPU 314
CPU 313C-2 DP
CPU 313C-2 PtP
CPU 313C
CPU 312C
CPU 312
CPU 416F-2
CPU 416-2
CPU 414F-3 PN/DP
CPU 414-3 PN/DP
CPU 414-3
CPU 414-2
CPU 412-2 PN/DP
CPU 412-2
CPU 412-1
CPU 1518F-4 PN/DP
CPU 1518-4 PN/DP
CPU 1517F-3 PN/DP
CPU 1517-3 PN/DP
CPU 1516F-3 PN/DP
CPU 1516-3 PN/DP
CPU 1515F-2 PN
CPU 1515-2 PN
CPU 1513F-1 PN
CPU 1513-1 PN
CPU 1512C-1 PN
CPU 1511C-1 PN
CPU 1511F-1 PN
CPU 1511-1 PN
19 CPUs S7-300
Portfolio reduction & all standard CPUs are also available as failsafe!
14 CPUs S7-1500
CPU 417-4
CPU 416F-3 PN/DP
CPU 416-3 PN/DP
CPU 416-3
9 CPUs S7-400

## Slide 4: SIMATIC Innovation Advanced Controller SIMATIC S7-1500: Standard, Compact and Failsafe Portfolio
# Axis
PROFIBUS
PROFINET / IE
Simple CPU selection thanks to optimized portfolio
CPU Type
Interface
Width
Bit performance
Program / Data memory
1511(F)-1 PN
35 mm
60 ns
150 (225) KB 1 MB
1
1
CPU 1511
CPU 1511F
up to 6
CPU 1511C
1511C-1 PN
85 mm
60 ns
175 KB 1 MB
1
1
up to 6
CPU 1512C
1512C-1 PN
110 mm
48 ns
250 KB 1 MB
1
1
up to 6
1513(F)-1 PN
35 mm
40 ns
300 (450) KB 1.5 MB
1
1
CPU 1513
CPU 1513F
up to 6
1515(F)-2 PN
70 mm
30 ns
500 (750) KB 3 MB
1
1
CPU 1515
CPU 1515F
2
up to 30
1516(F)-3 PN/DP
70 mm
10 ns
1 (1.5) MB 5 MB
CPU 1516
CPU 1516F
1
1
2
up to 30
CPU 1517
CPU 1517F
175 mm
1
1
2
1517(F)-3 PN/DP
2 ns
2 (3) MB 8 MB
up to 96
CPU 1518
CPU 1518F
1518(F)-4 PN/DP
175 mm
1 ns
4 (6) MB 20 MB
1
1
3
2
up to 128

## Slide 5: SIMATIC Innovation Standard CPU Portfolio S7-1500 is complete (TIA Portal V13 SP1 / FW V1.8)
412-2 PN/DP
414-3 PN/DP
412-1
412-2
1,000
2,000
3,000
4,000
6,000
315-2 DP
317-2 DP
317-2 PN/DP
312
314
315-2 PN/DP
319-3 PN/DP
414-3
414-2
416-2
7,000
S7-1500 CPU Portfolio
5,000
7-3
7-3
CPU 1511-1 PN … CPU 1518-3 PN/DP
S7-1500
German list price in €, regional adjustment may differ!
1516
1513
1511
1515
1518
1517
Notes: 5

## Slide 6: SIMATIC Innovation Failsafe CPU Portfolio S7-1500 is complete (TIA Portal V13 SP1 / FW V1.8)
S7-1500F CPU Portfolio
CPU 1511F-1 PN … CPU 1518F-3 PN/DP
414F-3 PN/DP
1,000
2,000
3,000
4,000
6,000
315F-2 DP
317F-2 DP
317F-2 PN/DP
315F-2 PN/DP
319F-3 PN/DP
416F-2
7,000
5,000
S7-1500
German list price in €, regional adjustment may differ!
1516F
1515F
1511F
1513F
1518F
1517F
Notes: 6

## Slide 7: SIMATIC Innovation Compact CPU Portfolio S7-1500 is complete (TIA Portal V13 SP1 / FW V1.8)
500
1,000
1,500
312C
313C
S7-1500
S7-1500C CPU Portfolio
SIMATIC CPU 1511C-1 PN / 1512C-1 PN
313C-2 PtP
313C-2 DP
314C-2 PtP
314C-2 DP
314C-2 PN/DP
Notes:
S7-300C incl. IO connector (Push-In)
CPU 313C has more IOs than CPU 1511C
1512C
1511C
German list price in €, regional adjustment may differ!
Notes: 7

## Slide 8: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1511(F)-1 PN
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
312
40 mm
100 ns
32 KB
314
40 mm
60 ns
128 KB
1511-1 PN
35mm
60 ns
150 KB 1 MB
1
1
S7-1500
1511F-1 PN
1
1
225 KB 1 MB
35mm
60 ns
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
S7-300

## Slide 9: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1513(F)-1 PN
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
S7-300
S7-400
315-2 DP
40 mm
50 ns
256 KB
412-1
25 mm
75 ns
144 KB 144 KB
412-2
25 mm
75 ns
256 KB 256 KB
412-2PN
25 mm
512 KB 512 KB
1513-1PN
40 ns
300 KB 1.5 MB
1
35mm
315F-2 DP
40 mm
50 ns
384 KB
1513F-1 PN
40 ns
450 KB 1.5 MB
1
35mm
1
1
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
31.25 ns
S7-1500

## Slide 10: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1515(F)-2 PN
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
S7-1500
315-2 PN/DP
40 mm
50 ns
384 KB
412-1
25 mm
75 ns
144 KB 144 KB
412-2
25 mm
75 ns
256 KB 256 KB
412-2PN
25 mm
31.25 ns
512 KB 512 KB
1515-2PN
30 ns
500 KB 3 MB
1
2
70mm
315F-2 PN/DP
40 mm
50 ns
512 KB
1515F-2 PN
30 ns
750 KB 3 MB
2
70mm
1
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
S7-300
S7-400
1
1

## Slide 11: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1516(F)-3 PN/DP
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
317-2 DP
40 mm
25 ns
1 MB
317-2 PN/DP
40 mm
25 ns
1 MB
1
1
414-2
25 mm
45 ns
512 KB 512 KB
1516-3 PN/DP
70mm
10 ns
1 MB 5 MB
2
S7-300
S7-400
S7-1500
412-2PN
25 mm
31.25 ns
512 KB 512 KB
1
1
317F-2 PN/DP
40 mm
25 ns
1.5 MB
1
1
317F-2 DP
40 mm
25 ns
1.5 MB
1516F-3 PN/DP
70mm
10 ns
1,5 MB 5 MB
2
1
1
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module

## Slide 12: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1517(F)-3 PN/DP
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
1517-3 PN/DP
175 mm
2 ns
2 MB 8 MB
S7-1500
319-3 PN/DP
120 mm
4 ns
2 MB
1
2
414-2
25 mm
45 ns
512 KB 512 KB
414-3
50 mm
45 ns
1.4 MB 1.4 MB
S7-400
1
1
2
319F-3 PN/DP
120 mm
4 ns
2.5 MB
1
2
1517F-3 PN/DP
175 mm
2 ns
3 MB 8 MB
1
1
2
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
Selective Marketing: Please contact local promoter/technical consultant for verification!
S7-300

## Slide 13: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1518(F)-4 PN/DP
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
1518-4 PN/DP
175 mm
1 ns
4 MB 20 MB
S7-1500
414-3 PN/DP
50 mm
18.75 ns
2 MB 2 MB
S7-400
1
1
3
2
416-2
30 ns
2.8 MB 2.8 MB
25 mm
414F-3 PN/DP
50 mm
18.75 ns
2 MB 2 MB
416F-2
30 ns
2.8 MB 2.8 MB
25 mm
1518F-4 PN/DP
175 mm
1 ns
6 MB 20 MB
1
1
3
2
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
Selective Marketing: Please contact local promoter/technical consultant for verification!

## Slide 14: SIMATIC S7-1500 Compact CPU

## Slide 15: SIMATIC Innovation Migration to SIMATIC S7-1200 CPU 1215C
Program/Data memory
HSC
PTO/PWM
Width
Integrated AI/AO
Interfaces
Integrated DI/DO
Bit-Performance
CPU Type
S7-300 C
312C
2
- / -
64 KB
100 ns
10 / 6
80 mm
- / 2
S7-1200 C
1215C
3 + 3
2 / 2
100 KB
85 ns
14 / 10
130 mm
4 / 4
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
Notes: 15

## Slide 16: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1511C-1 PN
Program/Data memory
HSC
PTO/PWM
Width
Integrated AI/AO
Interfaces
Integrated DI/DO
Bit-Performance
CPU Type
S7-300 C
313C
3
4+1 / 2
128 KB
70 ns
24 / 16
120 mm
- / 3
S7-1500 C
1511C-1 PN
6
4+1 / 2
150KB/1MB
60 ns
16 / 16
85 mm
4* / 4*
313C-2 PtP
3
- / -
128 KB
70 ns
16 / 16
80 mm
- / 3
313C-2 DP
3
- / -
128 KB
70 ns
16 / 16
80 mm
- / 3
* Not in the first delivery step (from FW 2.0 on)
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
Notes: 16

## Slide 17: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1511C-1 PN (2nd option for CPU 313C)
Program/Data memory
HSC
PTO/PWM
Width
Integrated AI/AO
Interfaces
Integrated DI/DO
Bit-Performance
CPU Type
S7-300 C
313C
3
4+1 / 2
128 KB
70 ns
24 / 16
120 mm
- / 3
S7-1500 C
1511C-1 PN
6
4+1 / 2
150KB/1MB
60 ns
16 / 16
85 mm
4* / 4*
16DI
16
25 mm
+
* Nicht in der ersten Lieferstufe
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
* Not in the first delivery step (from FW 2.0 on)
Notes: 17

## Slide 18: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1512C-1 PN
Program/Data memory
HSC
PTO/PWM
Width
Integrated AI/AO
Interfaces
Integrated DI/DO
Bit-Performance
CPU Type
S7-300 C
314C- 2 PtP
4
4+1 / 2
192 KB
60 ns
24 / 16
120 mm
1 / 4
S7-1500 C
1512C-1 PN
6
4+1 / 2
200KB/1MB
48 ns
32 / 32
110 mm
4* / 4*
314C-2 DP
4
4+1 / 2
192 KB
60 ns
24 / 16
120 mm
1 / 4
314C-2 PN/DP
4
4+1 / 2
192 KB
60 ns
24 / 16
120 mm
1 / 4
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
* Not in the first delivery step (from FW 2.0 on)
Notes: 18

## Slide 19: SIMATIC Innovation Distributed Controller SIMATIC ET 200SP CPU
CPU 1510SP-1 PN / CPU 1510SP F-1 PN CPU 1512SP-1 PN / CPU 1512SP F-1 PN

## Slide 20: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1510SP(F)-1 PN
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
ET 200S
1510SP-1 PN
100mm
72 ns
100 KB 750 KB
1
1
ET 200SP
1
IM 151-7F CPU
60 mm
60 ns
192 KB
1510SP F-1 PN
100mm
72 ns
150 KB 750 KB
1
1
1
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
IM 151-7 CPU
60 mm
60 ns
128 KB

## Slide 21: SIMATIC Innovation Migration to SIMATIC S7-1500 CPU 1512SP(F)-1 PN
Interfaces
Width
Bit-Performance
Program / Data memory
CPU Type
ET 200S
1512SP-1 PN
100mm
48 ns
200 KB 1 MB
1
1
ET 200SP
1
IM 151-8F PN/DP CPU
120 mm
60 ns
256 KB
1
1
1
1512SP F-1 PN
100mm
48 ns
300 KB 1 MB
1
1
1
PROFIBUS
PROFINET / IE
PROFIBUS/MPI
MPI
IF Module
120 mm
60 ns
192 KB
1
1
1
IM 151-8 PN/DN CPU

## Slide 22: SIMATIC Innovation Order Information for SIMATIC S7-1500 (TIA Portal V13 SP1 / FW V1.8)
CPU Type standard/failsafe | Order Number
CPU 1511-1 PN | 6ES7511-1AK01-0AB0
CPU 1511F-1 PN | 6ES7511-1FK01-0AB0
CPU 1513-1 PN | 6ES7513-1AL01-0AB0
CPU 1513F-1 PN | 6ES7513-1FL01-0AB0
CPU 1515-2 PN | 6ES7515-2AM01-0AB0
CPU 1515F-2 PN | 6ES7515-2FM01-0AB0
CPU 1516-3 PN/DP | 6ES7516-3AN01-0AB0
CPU 1516F-3 PN/DP | 6ES7516-3FN01-0AB0
CPU 1517-3 PN/DP | 6ES7517-3AP00-0AB0
CPU 1517F-3 PN/DP | 6ES7517-3FP00-0AB0
CPU 1518-4 PN/DP | 6ES7518-4AP00-0AB0
CPU 1518F-4 PN/DP | 6ES7518-4FP00-0AB0
CPU Type compact, IO connector | Order Number
CPU 1511C-1 PN | 6ES7511-1CK00-0AB0
CPU 1512C-1 PN | 6ES7512-1CK00-0AB0
Please use the TIA Selection Tool for further configuration, esp. for IO selection:
www.siemens.com/TIA-selection-tool
CPU Type distributed/failsafe | Order Number
CPU 1510SP-1 PN | 6ES7510-1DJ01-0AB0
CPU 1510SP F-1 PN | 6ES7510-1SJ01-0AB0
CPU 1512SP-1 PN | 6ES7512-1DK01-0AB0
CPU 1512SP F-1 PN | 6ES7512-1SK01-0AB0

## Slide 23: SIMATIC Innovation Order Information for SIMATIC S7-1500 accessories (FW V1.8)
S7-1500 Labeling Sheets, DIN A4 | Order Number
35 mm, 100 lables, 10 sheets | 6ES7592-2AX00-0AA0
25 mm, 200 lables, 10 sheets | 6ES7592-1AX00-0AA0
Please use the TIA Selection Tool for further configuration, esp. for accessory selection:
www.siemens.com/TIA-selection-tool
SIMATIC Memory Card | Order Number
SMC 32 GB | 6ES7954-8LT02-0AA0
SMC 2 GB | 6ES7954-8LP01-0AA0
SMC 256 MB | 6ES7954-8LL02-0AA0
SMC 24 MB | 6ES7954-8LF02-0AA0
SMC 12 MB | 6ES7954-8LE02-0AA0
SMC 4 MB | 6ES7954-8LC02-0AA0
S7-1500 Mounting Rail | Order Number
160 mm | 6ES7590-1AB60-0AA0
245 mm | 6ES7590-1AC40-0AA0
485 mm (19“) | 6ES7590-1AE80-0AA0
530 mm | 6ES7590-1AF30-0AA0
830 mm | 6ES7590-1AJ30-0AA0
2000 mm (for cutting to length by customer) | 6ES7590-1BC00-0AA0

## Slide 24: SIMATIC Innovation Further Information regarding Modernizations and Retrofits with SIMATIC
Central Internet Site with all important Links:
www.siemens.com/tia-migration
(Webtutorials, Documents, Starter Kits, Services, References)
Migration in the Industry Online Support (SIOS):
ID 83558085
Migration Guide S7-300 to S7-1500:
ID 109478811
Programming Guide and Programming Styleguide for S7-1200 and S7-1500:
ID 81318674
SIMATIC S7-1200 / S7-1500 Comparison List for Programming Languages:
ID 86630375